## Resultados Marshall
Deformación (mm) | Carga (kp) | Tiempo (s) | Diferencia carga (kp) | Media de 5 diferencias (kp) | Lecturas por punto | Resultado | Valor calculado
0 | 1.6267 | 0.11055 |  |  | 10 | Estabilidad máxima (kp) | 1768.5427
0 | 1.1542 | 0.21841 | -0.47251 |  | 10 | 95 % de estabilidad (kp) | 1680
0 | 0.84493 | 0.32018 | -0.30928 |  | 10 | Deformación a 50 kp (mm) | 2.18
0 | 1.7019 | 0.44106 | 0.85695 | 0 | 10 | Deformación al 95 % (mm) | 3.54
0 | 1.326 | 0.54485 | -0.37586 | -0.040807 | 10 | Deformación Marshall: d95 − d50 (mm) | 1.36
0 | 1.6267 | 0.67118 | 0.30069 | 0.13058 | 10 | Pendiente tangente (kp/mm) | 1675.4457
0 | 0.95016 | 0.79449 | -0.67654 | -0.11276 | 10 | Cero de la tangente (mm) | 2.1824
0 | 1.4978 | 0.90867 | 0.54768 | 0.037586 | 10 | Deformación al máximo (mm) | 3.9954
0 | 1.1381 | 1.0104 | -0.35975 | -0.21048 | 10 | Deformación corregida: dmáx − cero (mm) | 1.81
0 | 1.5139 | 1.1198 | 0.37586 | 0.032216 | 10
0 | 0.57431 | 1.2315 | -0.93964 | 0.034364 | 10
0 | 1.1112 | 1.3376 | 0.53694 | -0.075171 | 10 | Método | VBA original: diferencias de 5 puntos, tangente i±2, d50 y d95 interpoladas
0 | 1.6697 | 1.4466 | 0.55842 | -0.045103 | 10 | Preparación | Media de 10 lecturas por punto; último bloque parcial incluido
0 | 0.76224 | 1.5527 | -0.90742 | 0.33075 | 10
0 | 1.2884 | 1.6609 | 0.5262 | 0.20332 | 10 | Tangente: deformación (mm) | Tangente: carga (kp)
0 | 2.2281 | 1.8016 | 0.93964 | -0.068728 | 10 | 2.1824 | 0
0 | 2.1278 | 1.9094 | -0.10023 | 0.14283 | 10 | 3.2379 | 1768.5427
0 | 1.326 | 2.0266 | -0.80183 | -0.032574 | 10
0 | 1.4764 | 2.1488 | 0.15034 | -0.14433 | 10
0 | 1.1256 | 2.2509 | -0.3508 | -0.30069 | 10
0 | 1.5064 | 2.3757 | 0.38087 | 0.012027 | 10
0 | 0.62442 | 2.4833 | -0.88201 | -0.19545 | 10
0 | 1.3862 | 2.6018 | 0.76174 | 0.020046 | 10
0 | 0.49914 | 2.7277 | -0.88702 | -0.04811 | 10
0 | 1.2258 | 2.8247 | 0.72666 | 0.21549 | 10
0 | 1.2659 | 2.9484 | 0.040091 | 0.088201 | 10
0 | 1.7019 | 3.0565 | 0.43599 | 0.088058 | 10
0 | 1.8272 | 3.2022 | 0.12529 | -0.057273 | 10
0 | 0.93943 | 3.3078 | -0.88774 | -0.030928 | 10
0 | 0.93943 | 3.4156 | 0 | -0.23153 | 10
0 | 1.1112 | 3.5658 | 0.17182 | -0.048682 | 10
0 | 0.54424 | 3.6652 | -0.56701 | -0.063001 | 10
0 | 1.5838 | 3.8034 | 1.0395 | 0.047251 | 10
0 | 0.62442 | 3.9122 | -0.95933 | 0.083046 | 10
0 | 1.1757 | 4.0548 | 0.55126 | 0.076174 | 10
0 | 1.5265 | 4.1762 | 0.3508 | 0.189 | 10
0 | 0.92511 | 4.2824 | -0.60137 | 0.20046 | 10
0 | 2.5288 | 4.3926 | 1.6037 | 0.060137 | 10
0 | 1.6267 | 4.5012 | -0.90206 | -0.20046 | 10
0 | 1.4764 | 4.6188 | -0.15034 | 0.037228 | 10
0 | 0.52419 | 4.7357 | -0.95217 | -0.32646 | 10
0 | 1.1112 | 4.8427 | 0.58705 | -0.10023 | 10
0 | 0.89647 | 4.9526 | -0.21478 | 0.2878 | 10
0 | 1.1256 | 5.0663 | 0.22909 | 0.20714 | 10
0 | 2.9154 | 5.1699 | 1.7898 | 0.095575 | 10
0 | 1.5599 | 5.3079 | -1.3555 | 0.14605 | 10
0 | 1.5891 | 5.4162 | 0.029233 | 0.11526 | 10
0 | 1.6267 | 5.5378 | 0.037586 | -0.39003 | 10
0 | 1.7019 | 5.6348 | 0.075171 | -0.10691 | 10
0 | 0.9652 | 5.7428 | -0.73668 | -0.15786 | 10
0 | 1.0253 | 5.878 | 0.060137 | 0.090206 | 10
0 | 0.79982 | 5.9908 | -0.22551 | -0.030069 | 10
0 | 2.0777 | 6.118 | 1.2779 | 2.2204e-17 | 10
0 | 1.5515 | 6.224 | -0.5262 | 0.050114 | 10
0 | 0.9652 | 6.3338 | -0.58634 | 2.2204e-17 | 10
0 | 1.2759 | 6.4906 | 0.31071 | 0.030069 | 10
0 | 0.79982 | 6.5993 | -0.47608 | 0.03508 | 10
0 | 2.2281 | 6.7239 | 1.4283 | 0.084192 | 10
0 | 1.7269 | 6.8337 | -0.50114 | 0.030069 | 10
0 | 1.3862 | 6.9416 | -0.34078 | 0.045103 | 10
0 | 1.4262 | 7.0822 | 0.040091 | -0.17289 | 10
0 | 1.0253 | 7.1915 | -0.40091 | -0.15034 | 10
0 | 1.3636 | 7.2979 | 0.33827 | -0.036082 | 10
0 | 0.97522 | 7.421 | -0.38838 | 3.949 | 10
0.027663 | 1.2057 | 7.5283 | 0.23053 | -0.20507 | 10
0.089772 | 21.1712 | 7.6525 | 19.9655 | 0.23303 | 10
0.17737 | 0 | 7.7605 | -21.1712 | 0.35581 | 10
0.26944 | 2.5288 | 7.8698 | 2.5288 | 0.14433 | 10
0.39644 | 2.7543 | 7.9859 | 0.22551 | -3.933 | 10
0.51288 | 1.9274 | 8.1189 | -0.82688 | 1.2755 | 10
0.63226 | 1.5064 | 8.2117 | -0.42096 | -0.16838 | 10
0.74905 | 6.3775 | 8.35 | 4.8711 | -0.20547 | 10
0.85964 | 1.6868 | 8.4576 | -4.6907 | -0.080183 | 10
0.97208 | 1.7269 | 8.573 | 0.040091 | -0.096219 | 10
1.104 | 1.5265 | 8.6904 | -0.20046 | -0.92611 | 10
1.2058 | 1.0253 | 8.7997 | -0.50114 | -0.12228 | 10
1.3115 | 1.747 | 8.9332 | 0.72164 | -0.020046 | 10
1.4346 | 1.0755 | 9.0371 | -0.67153 | 0.3929 | 10
1.5217 | 1.6267 | 9.1439 | 0.55126 | 0.12027 | 10
1.6588 | 3.491 | 9.2837 | 1.8642 | 0.31271 | 10
1.7723 | 1.6267 | 9.392 | -1.8642 | 2.8164 | 10
1.8826 | 3.3105 | 9.5218 | 1.6838 | 3.5421 | 10
1.9771 | 15.1575 | 9.6453 | 11.847 | 6.5068 | 10
2.0516 | 19.3371 | 9.7481 | 4.1795 | 15.2989 | 10
2.1511 | 36.0251 | 9.8863 | 16.688 | 33.6226 | 10
2.2483 | 78.121 | 9.9935 | 42.0959 | 57.4128 | 10
2.3229 | 171.4236 | 10.145 | 93.3026 | 77.1317 | 10
2.3975 | 302.2216 | 10.2407 | 130.798 | 101.8902 | 10
2.4448 | 404.9958 | 10.3477 | 102.7742 | 119.2818 | 10
2.506 | 545.4759 | 10.487 | 140.4801 | 126.0472 | 10
2.5909 | 674.5299 | 10.5952 | 129.0541 | 132.6082 | 10
2.6608 | 801.6596 | 10.734 | 127.1297 | 137.4131 | 10
2.7584 | 965.2624 | 10.8569 | 163.6028 | 135.3444 | 10
2.8322 | 1092.0613 | 10.9649 | 126.7989 | 131.2731 | 10
2.9315 | 1222.1978 | 11.1159 | 130.1365 | 121.561 | 10
3.0197 | 1330.8955 | 11.2305 | 108.6977 | 106.9778 | 10
3.111 | 1409.4645 | 11.3582 | 78.569 | 94.7278 | 10
3.2372 | 1500.1511 | 11.5068 | 90.6866 | 81.1549 | 10
3.3264 | 1565.7005 | 11.6066 | 65.5494 | 68.8028 | 10
3.4304 | 1627.9724 | 11.7459 | 62.2719 | 59.5116 | 10
3.5353 | 1674.9093 | 11.8542 | 46.9369 | 47.9653 | 10
3.6239 | 1707.0225 | 11.9647 | 32.1132 | 37.7961 | 10
3.7496 | 1739.9776 | 12.1191 | 32.9551 | 28.1141 | 10
3.8614 | 1754.6811 | 12.2416 | 14.7035 | 15.9423 | 10
3.9954 | 1768.5427 | 12.4154 | 13.8616 | 5.5146 | 10
4.1197 | 1754.621 | 12.5109 | -13.9217 | -12.713 | 10
4.2383 | 1734.5953 | 12.6749 | -20.0256 | -27.4165 | 10
4.3837 | 1676.4128 | 12.7945 | -58.1826 | -46.1672 | 10
4.4973 | 1617.5987 | 12.8965 | -58.814 | -58.9463 | 10
4.6301 | 1537.7067 | 13.0403 | -79.892 | -70.7332 | 10
4.7487 | 1459.8894 | 13.1606 | -77.8173 | -76.8431 | 10
4.8692 | 1380.9295 | 13.3283 | -78.9599 | -79.02 | 10
5.0171 | 1292.1973 | 13.4362 | -88.7322 | -79.7417 | 10
5.141 | 1222.4985 | 13.57 | -69.6988 | -77.3903 | 10
5.2859 | 1138.9982 | 13.6885 | -83.5003 | -76.1455 | 10
5.3996 | 1072.9377 | 13.8111 | -66.0605 | -70.2942 | 10
5.531 | 1000.202 | 13.9855 | -72.7357 | -67.6602 | 10
5.6704 | 940.7265 | 14.0917 | -59.4755 | -63.3965 | 10
5.7871 | 884.1977 | 14.2632 | -56.5288 | -57.8999 | 10
5.9409 | 822.016 | 14.384 | -62.1817 | -53.7445 | 10
6.0449 | 783.4381 | 14.4817 | -38.5779 | -50.461 | 10
6.1812 | 731.4797 | 14.6542 | -51.9584 | -46.0289 | 10
6.3099 | 688.4216 | 14.762 | -43.0581 | -42.992 | 10
6.4187 | 654.0533 | 14.8806 | -34.3683 | -43.0942 | 10
6.5676 | 607.0562 | 15.0103 | -46.9971 | -41.8073 | 10
6.6913 | 567.9671 | 15.1199 | -39.0891 | -41.1939 | 10
6.8175 | 522.4434 | 15.293 | -45.5237 | -40.803 | 10
6.941 | 482.4523 | 15.4007 | -39.9911 | -39.1552 | 10
7.0596 | 450.0384 | 15.5384 | -32.4139 | -36.7978 | 10
7.2105 | 411.2801 | 15.6908 | -38.7583 | -32.9972 | 10
7.324 | 383.9779 | 15.7861 | -27.3022 | -30.736 | 10
7.4506 | 357.4575 | 15.9344 | -26.5204 | -27.5728 | 10
7.5837 | 328.7721 | 16.0655 | -28.6854 | -24.1991 | 10
7.6896 | 312.1743 | 16.1982 | -16.5978 | -22.2146 | 10
7.8233 | 290.2844 | 16.331 | -21.8899 | -20.6811 | 10
7.9327 | 272.9048 | 16.441 | -17.3796 | -18.2756 | 10
8.0569 | 254.0519 | 16.5998 | -18.853 | -17.6622 | 10
8.1826 | 237.3939 | 16.7211 | -16.658 | -17.3435 | 10
8.2791 | 223.8631 | 16.8156 | -13.5308 | -16.8444 | 10
8.418 | 203.5668 | 16.974 | -20.2962 | -15.8641 | 10
8.5357 | 188.6829 | 17.094 | -14.8839 | -16.0987 | 10
8.6472 | 174.7311 | 17.2201 | -13.9518 | -16.1648 | 10
8.773 | 156.9005 | 17.3583 | -17.8306 | -13.6722 | 10
8.8775 | 143.0389 | 17.4675 | -13.8616 |  | 10
8.9571 | 135.2061 | 17.4993 | -7.8328 |  | 4

## Gráfico Marshall
Resultados calculados Marshall
Ensayo: ensayo_20261015_163054
Estabilidad máxima (kp) | 1768.5427
95 % de estabilidad (kp) | 1680
Deformación a 50 kp (mm) | 2.18
Deformación al 95 % (mm) | 3.54
Deformación Marshall: d95 − d50 (mm) | 1.36
Pendiente tangente (kp/mm) | 1675.4457
Cero de la tangente (mm) | 2.1824
Deformación al máximo (mm) | 3.9954
Deformación corregida: dmáx − cero (mm) | 1.81
Media de 10 lecturas por punto; último bloque parcial incluido

## Configuración
Campo | Valor
reference | ensayo_20261015_163054
operator
sample_id
notes | Recalculado con calibración inicial conservando la misma tara física. No es una nueva adquisición.
demo | False
source | Adquisición
Fecha adquisición | 2026-10-15T14:32:36+00:00
ID ensayo | 6dba5474-c2fc-4289-8981-f90f124e5c55
device_description | USB-4716,BID#0
logo_path | assets/uc_logo_2024.png
input_mode | Differential
input_range | V_Neg5To5
force_channel | 0
deformation_channel | 2
force_factor_kp_per_v | -1970.57
force_offset_kp | 0.0
deformation_factor_mm_per_v | 2.643095
deformation_offset_mm | 0.0
sample_hz | 100.0
display_average_samples | 10
tare_samples | 100
saturation_voltage | 4.95
output_directory | ensayos
display_unit | kp
specimen_area_mm2 | 0.0
pinout | {"legacy_force_high": 1, "legacy_force_low": 20, "legacy_deformation_high": 2, "legacy_deformation_low": 21, "usb_force_plus": 0, "usb_force_minus": 1, "usb_deformation_plus": 2, "usb_deformation_minus": 3}
calibration_history | [{"date": "2026-10-09T10:17:03.688304", "method": "ring_zero_and_1mm", "demo": false, "force_at_1mm_kp": 1787.17, "deformation_reference_mm": 1.0, "zero": {"t": 30375.5162564, "vf": -0.156402587890625, "vd": -2.25128173828125, "sigma_f": 0.0009450560760200701, "sigma_d": 0.004310150880151899, "demo": false, "captured_at": "2026-10-09T10:10:30.956124"}, "one_mm": {"t": 30764.1641839, "vf": -1.07177734375, "vd": -1.471710205078125, "sigma_f": 0.0013195682322619052, "sigma_d": 0.004857017776580997, "demo": false, "captured_at": "2026-10-09T10:16:59.602752"}, "force_fit": {"factor": -1952.391617269545, "offset": -305.3591015169195, "r2": 1.0, "max_error": 0.0, "residuals": [0.0, 0.0]}, "deformation_fit": {"factor": 1.28275592092386, "offset": 2.887844979448033, "r2": 1.0, "max_error": 2.220446049250313e-16, "residuals": [0.0, -2.220446049250313e-16]}}, {"date": "2026-10-15T10:15:09.068578+02:00", "method": "restore_previous_deformation", "sensor": "Deformación (mm)", "source": "git HEAD:config.json", "previous_calibration": {"deformation_factor_mm_per_v": 1.28275592092386, "deformation_offset_mm": 2.887844979448033}, "restored_calibration": {"deformation_factor_mm_per_v": 2.643095, "deformation_offset_mm": 0.0}}]
stable_zero | {"enabled": false, "noise_sigma_multiplier": 5, "confirmation_seconds": 0.3}
display_processing | Kalman
deformation_processing | filtered_running_max_deadband_0.02mm_fixed_tare
legacy_processing | {"block_samples": 10, "tare_samples": 100, "export_held_samples": 10, "truncation": "floor"}
tare_statistics | {"stability": {"method": "trimmed_mean_10_percent_each_tail", "samples": 100, "duration_s": 1.0140266000526026, "channels": [{"mean_v": -0.15477752685546875, "std_v": 0.0009853313726686669, "drift_v": 0.0005376906622023836}, {"mean_v": 0.17832565307617188, "std_v": 0.004833273333739006, "drift_v": 0.001344226655505959}]}, "method": "legacy_mean_100", "samples": 100, "duration_s": 1.0140266000526026, "channels": [{"mean_v": -0.15481414794921874}, {"mean_v": 0.17857513427734376}]}
zero_force_v | -0.15481414794921874
zero_deform_v | 0.17857513427734376
rupture_estimate | {"index": 1079, "t": 12.794509699917398, "confirmed_at": 13.956384499906562, "force_kp": 1714.3277035005835, "drop_kp": 171.30198728121354, "method": "mean_1s_drop_10pct_6sigma_0.5s"}
calibration_comparison | {"method": "same_physical_tare", "source_session_id": "6dba5474-c2fc-4289-8981-f90f124e5c55", "scenario": "Calibración inicial"}